## Sheet1
Effluent Treatment Level | Electricity Intensity (kWh/m3)
Primary (45mg/l< BOD) | 0.19815
Secondary | 0.54954
Advanced Treatment | 0.7107
Advanced Primary | 0.19815
Raw Discharge | 0