## Sheet1
Effluent Treatment Level | Electricity Intensity (kWh/m3)
Raw Discharge | 0
Primary (45mg/l< BOD) | 0.1099
Advanced Primary | 0.14107
Secondary | 0.35241
Advanced Treatment | 0.48687